## Slide 1: Solar District Heating Systems
UPV-EHU, Bilbao, 01-04 December 2020
FULL LECTURE AVAILABLE AT:
https://robertogaray.com/master-smaacs-sistemas-solares-en-district-heating-2/

## Slide 2: EXERCISE 3
Performance of ST collector technologies at various temperatures
For educational purposes only
Typical issues out of the scope of this exercises
  Logaritmic mean temperature calculations
  Self-shading
  Shading between arrays for flat roof/ground mounted systems
  Issues at plant level
FULL LECTURE AVAILABLE AT:
https://robertogaray.com/master-smaacs-sistemas-solares-en-district-heating-2/

## Slide 3
FULL LECTURE AVAILABLE AT:
https://robertogaray.com/master-smaacs-sistemas-solares-en-district-heating-2/

## Slide 4
 | a_0 | A_1 W/m2K
Evacuated Tube Collectors | 0,625 | 1,5
Glazed Collectors | 0,725 | 5,5
Unglazed collectors | 0,875 | 15
Ambient temperature 5ºC
Inlet temperature 40ºC
Outlet temperature 50ºC
Solar Irradiation 300W/m2
Mean collector temperature
AT
Performance ET
Performance G
Performance UG
45ºC
40ºC
43%
-1%
-113%
15ºC
40ºC
50ºC
400W/m2
45ºC
30ºC
51%
31%
-25%
15ºC
35ºC
40ºC
500W/m2
37,5ºC
22,5ºC
56%
48%
20%
FULL LECTURE AVAILABLE AT:
https://robertogaray.com/master-smaacs-sistemas-solares-en-district-heating-2/